CCTV Single Channel Passive Transceiver CAT5 BNC Male Video Balun 1 Pair

Video Balun CCTV Via CAT-5 Twisted Pair Transceivers 1 Pair

Twisted Pair Video Balun Transceivers w/ Extension Cable 1 Pair

Specification:

Receive and transmit video signals over UTP wire

Sends video up to 1,500 meters (Passive-Active) or 300 meters (Passive-Passive) via inexpensive cat.5 twisted pair cable

Provides noise interference restrain design and permitting stable images

Built-in transient protection design, needless to use a ground connection

Compact size and easy installation

Comes in pair, one for camera and the other for DVR

Package list:

1 x Single Channel Passive Transceiver